## Load Date
Time interval | Load (MW) | (peak load is 1800)
1 | 1206
2 | 1134
3 | 1080
4 | 1062
5 | 1062
6 | 1080
7 | 1332
8 | 1548
9 | 1710
10 | 1728
11 | 1728
12 | 1710
13 | 1710
14 | 1710
15 | 1674
16 | 1692
17 | 1782
18 | 1800
19 | 1800
20 | 1728
21 | 1638
22 | 1494
23 | 1314
24 | 1134

## Generator Data
Generator Number | Bus | Technology | Capacity (MW) | Ramp up (MW/h) | Ramp down (MW/h) | Min down time | Min up time | Minimum output (MW) | Generation in time period 0 | Cost curve segment 1 coefficient ($/MW) | Cost curve segment 2 coefficient ($/MW) | Cost curve segment 3 coefficient ($/MW) | Capacity of segment 1 of the cost curve (MW) | Capacity of segment 2 of the cost curve (MW) | Capacity of segment 3 of the cost curve (MW) | Cost step 1 of start-up cost curve ($) | Cost step 2 of start-up cost curve ($) | Cost step 3 of start-up cost curve ($) | Cost step 4 of start-up cost curve ($) | Cost step 5 of start-up cost curve ($) | Cost step 6 of start-up cost curve ($) | Cost step 7 of start-up cost curve ($) | Cost step 8 of start-up cost curve ($) | Time step 1 of start-up cost curve (h) | Time step 2 of start-up cost curve (h) | Time step 3 of start-up cost curve (h) | Time step 4 of start-up cost curve (h) | Time step 5 of start-up cost curve (h) | Time step 6 of start-up cost curve (h) | Time step 7 of start-up cost curve (h) | Time step 8 of start-up cost curve (h)
1 | 101 | OCGT | 20 | 90 | 100 | 1 | 2 | 8 | 20 | 28.967 | 29.243 | 29.703 | 6.6667 | 6.6667 | 6.6667 | 25 | 28 | 31 | 34 | 37 | 40 | 43 | 46 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
2 | 101 | CCGT | 76 | 120 | 120 | 2 | 3 | 40 | 0 | 18.433 | 19.238 | 20.112 | 25.3333 | 25.3333 | 25.3333 | 44 | 50.8571 | 57.7143 | 64.5714 | 71.4286 | 78.2857 | 85.1429 | 92 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
3 | 102 | OCGT | 20 | 90 | 100 | 1 | 2 | 8 | 0 | 28.947 | 29.223 | 29.683 | 6.6667 | 6.6667 | 6.6667 | 25 | 28 | 31 | 34 | 37 | 40 | 43 | 46 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
4 | 102 | CCGT | 76 | 120 | 120 | 2 | 3 | 40 | 0 | 18.403 | 19.208 | 20.082 | 25.3333 | 25.3333 | 25.3333 | 44 | 50.8571 | 57.7143 | 64.5714 | 71.4286 | 78.2857 | 85.1429 | 92 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
5 | 107 | CCGT | 100 | 420 | 420 | 2 | 4 | 40 | 100 | 17.5904 | 18.2804 | 18.9658 | 33.3333 | 33.3333 | 33.3333 | 60 | 68.5714 | 77.1429 | 85.7143 | 94.2857 | 102.8571 | 111.4286 | 120 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
6 | 107 | CCGT | 100 | 420 | 420 | 2 | 4 | 40 | 90 | 17.6004 | 18.2904 | 18.9758 | 33.3333 | 33.3333 | 33.3333 | 60 | 68.5714 | 77.1429 | 85.7143 | 94.2857 | 102.8571 | 111.4286 | 120 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
7 | 113 | CCGT | 197 | 310 | 310 | 3 | 4 | 104 | 177 | 17.1925 | 17.7077 | 18.2252 | 65.6667 | 65.6667 | 65.6667 | 110 | 127.1429 | 144.2857 | 161.4286 | 178.5714 | 195.7143 | 212.8571 | 230 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
8 | 113 | CCGT | 197 | 310 | 310 | 3 | 4 | 104 | 0 | 17.2125 | 17.7277 | 18.2452 | 65.6667 | 65.6667 | 65.6667 | 110 | 127.1429 | 144.2857 | 161.4286 | 178.5714 | 195.7143 | 212.8571 | 230 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
9 | 115 | OCGT | 12 | 60 | 70 | 1 | 2 | 5.4 | 12 | 29.453 | 30.12 | 30.856 | 4 | 4 | 4 | 20 | 22.8571 | 25.7143 | 28.5714 | 31.4286 | 34.2857 | 37.1429 | 40 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
10 | 115 | IGCC | 155 | 70 | 80 | 16 | 24 | 54.24 | 134 | 23.8096 | 24.5249 | 25.2402 | 51.6667 | 51.6667 | 51.6667 | 562 | 775.7143 | 989.4286 | 1203.1429 | 1416.8571 | 1630.5714 | 1844.2857 | 2058 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
11 | 116 | IGCC | 155 | 70 | 80 | 16 | 24 | 54.24 | 123 | 23.8196 | 24.5349 | 25.2502 | 51.6667 | 51.6667 | 51.6667 | 562 | 775.7143 | 989.4286 | 1203.1429 | 1416.8571 | 1630.5714 | 1844.2857 | 2058 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
12 | 118 | Nuclear | 400 | 280 | 280 | 24 | 168 | 100 | 0 | 6.9608 | 7.2299 | 7.499 | 133.3333 | 133.3333 | 133.3333 | 35000 | 35714.2857 | 36428.5714 | 37142.8571 | 37857.1429 | 38571.4286 | 39285.7143 | 40000 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
13 | 121 | Nuclear | 400 | 280 | 280 | 24 | 168 | 100 | 377 | 6.9708 | 7.2399 | 7.509 | 133.3333 | 133.3333 | 133.3333 | 35000 | 35714.2857 | 36428.5714 | 37142.8571 | 37857.1429 | 38571.4286 | 39285.7143 | 40000 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
14 | 122 | CCGT | 50 | 120 | 120 | 1 | 2 | 26 | 47 | 28.313 | 29.256 | 30.498 | 16.6667 | 16.6667 | 16.6667 | 30 | 34.2857 | 38.5714 | 42.8571 | 47.1429 | 51.4286 | 55.7143 | 60 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
15 | 123 | IGCC | 155 | 70 | 80 | 16 | 24 | 54.24 | 0 | 23.8296 | 24.5449 | 25.2602 | 51.6667 | 51.6667 | 51.6667 | 562 | 775.7143 | 989.4286 | 1203.1429 | 1416.8571 | 1630.5714 | 1844.2857 | 2058 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
16 | 123 | Coal | 350 | 140 | 140 | 5 | 8 | 140 | 0 | 26.2131 | 26.7076 | 27.1998 | 116.6667 | 116.6667 | 116.6667 | 5170 | 6154.8571 | 7139.7143 | 8124.5714 | 9109.4286 | 10094.2857 | 11079.1429 | 12064 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
|  | total capacity | 2463